ANNEXURE-I

(Enclosure to letter No. 4-7(9)/2009-2010/Vol-II/E-II dated 09th December,2014)

AMC of Air Conditioners, Refrigerators and Water Coolers at CRIDA Complex and         its Research Farm

Amount of EMD ₹ 8,000/- , DD No.________________     Dated:_____________

Name of the Bank & Branch:___________________________________________

| 1. Maintenance of ACs (143Nos) | Capacity of ACs | Quote Rates per unit for 1 year (₹) |
| --- | --- | --- |
| a) Preventive Maintenance of units: Water Wash - Every 3 months General Servicing - Every 3 months and when occasion demands. b) Repair of Fan motors, including replacement of winding, Repairing/Replacement of Thermostat, Relays, Capacitors, Wiring, Gas filling, Gas Top up. Note: Services of one mechanic should be made available throughout the contract period at CRIDA during office hours and beyond if required. | 1.0 Tr(Window) 1.5 Tr(Window) 1.5 Tr(Split) 2.0 Tr(Split) 3.5 Tr(Cassittee) 4.5 Tr(Cassittee) |  |

| 2. Maintenance of Refrigerators(39Nos) | Capacity of Refrigerators | Quote Rate per unit for 1 year (₹) |
| --- | --- | --- |
| a) Preventive Maintenance of units: Water Wash - Every 3 months General Servicing - Every 3 months and when occasion demands. b) Repair of Fan motors, including replacement of winding, Repairing/Replacement of Thermostat, Relays, Capacitors, Wiring, Gas filling, Gas Top up. | 40 ltr to 165 ltr 200 ltr to 290 ltr 300 ltr to 460 ltr |  |

SIGNATURE OF THE TENDERER

| 3. Maintenance of Water Coolers(09Nos) | Capacity of Water Coolers | Quote Rates per unit for 1 year (₹) |
| --- | --- | --- |
| a) Preventive Maintenance of units: Water Wash - Every 3 months General Servicing - Every 3 months and when occasion demands. b) Repair of Fan motors, including replacement of winding, Repairing/Replacement of Thermostat, Relays, Capacitors, Wiring, Gas filling, Gas Top up. | 40 ltr 80 ltr |  |

SIGNATURE OF THE TENDERER

AMC of Air Conditioners Spares - QUOTE RATE PER UNIT

| S.No. | Air Conditioners Spares | CAPACITY |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1.0 Tr(₹) | 1.5 Tr(₹) | 2.0 Tr(₹) | 3.5 Tr(₹) | 4.5 Tr(₹) |
| 1. | New compressor cost |  |  |  |  |  |
| 2. | Replacement compressor cost (Exchange of compressor with working condition with 2 years warranty) |  |  |  |  |  |
| 3. | New fan motor cost (For Window) |  |  |  |  |  |
| 4. | New thermo starter cost |  |  |  |  |  |
| 5. | New relay cost |  |  |  |  |  |
| 6. | New capacitor(50 MFT) cost |  |  |  |  |  |
| 7. | Gas charging cost |  |  |  |  |  |
| 8. | PCB board cost |  |  |  |  |  |
| 9. | Remote hand set cost |  |  |  |  |  |
| 10. | Outdoor fan motor cost(For Split) |  |  |  |  |  |
| 11. | Indoor fan motor cost (For Split) |  |  |  |  |  |
| 12. | Outdoor Condenser coil repair cost |  |  |  |  |  |
| 13. | ½, ¼, ⅝ Valves cost |  |  |  |  |  |
| 14 | Filters cost |  |  |  |  |  |
| 15. | Capillary cost |  |  |  |  |  |
| 16. | Copper pipe ½, ¼, ⅝ per meter cost |  |  |  |  |  |

SIGNATURE OF THE TENDERER

| S.No. | Air Conditioners Spares | CAPACITY |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1.0 Tr(₹) | 1.5 Tr(₹) | 2.0 Tr(₹) | 3.5 Tr(₹) | 4.5 Tr(₹) |
| 17 | 3 core card cost |  |  |  |  |  |
| 18. | New Indoor unit cost (For Split) |  |  |  |  |  |
| 19. | Shifting of ACs from one room to another room cost(Window type) |  |  |  |  |  |
| 20. | Shifting of ACs from one room to another room cost(Split type) |  |  |  |  |  |
| 21. | Wall mounted stand (Iron) cost (For Split) |  |  |  |  |  |
| 22. | New Stabilizer(4 KVA) cost |  |  |  |  |  |
| 23. | New Stabilizer(5 KVA) cost |  |  |  |  |  |
| 24. | Heating Condenser cost |  |  |  |  |  |

SIGNATURE OF THE TENDERER

AMC of Refrigerators Spares – QUOTE RATE PER UNIT

| S.No. | Refrigerators Spares: | CAPACITY |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | 165 ltr (₹) | 230 ltr (₹) | 300 ltr (₹) | 460 ltr (₹) |
| 1. | 1. New compressor cost |  |  |  |  |
| 2. | 2.Replacement compressor cost |  |  |  |  |
| 4. | 4. New fan motor cost |  |  |  |  |
| 5. | 5. New thermo starter cost |  |  |  |  |
| 6. | 6. New relay & OLP cost |  |  |  |  |
| 7. | 7. New capacitor cost |  |  |  |  |
| 8. | 8. Gas charging cost |  |  |  |  |
| 9. | 9. Outdoor Condenser coil repair cost |  |  |  |  |
| 10. | 10. Condenser cost |  |  |  |  |
| 11. | 11. Cooling coil cost |  |  |  |  |
| 12. | 12. Heater cost |  |  |  |  |
| 13. | 13. Timer cost |  |  |  |  |
| 14. | 14. Freezer duct cost |  |  |  |  |
| 15. | 15. Capillary & filters cost |  |  |  |  |
| 16. | 16. Body ducting cost |  |  |  |  |

SIGNATURE OF THE TENDERER

AMC of Water Coolers Spares - QUOTE RATE PER UNIT

| Maintenance of Water coolers | CAPACITY |  |
| --- | --- | --- |
|  | 40 ltr (₹) | 80 ltr (₹) |
| 1. New compressor cost |  |  |
| 2. Replacement compressor cost |  |  |
| 4. New fan motor cost |  |  |
| 5. New thermo starter cost |  |  |
| 6. New relay & OLP cost |  |  |
| 7. New capacitor cost |  |  |
| 8. Gas charging cost |  |  |
| 9. Capillary & filters cost |  |  |
| 10. Body ducting cost |  |  |
| 11. S.S. Taps cost |  |  |

Enclosure: DD referred to above

Place:						Signature	  :

Date:						 Name		  :

Mobile No	  :

Mailing Address: