ANNEXURE-I

(Enclosure to Letter No.4-VI(2)/2014-2015/E-II Dated:02nd December,2014)

QUOTATION FOR WORK OF PLASTERING OF RETENTION WALL

Amount of EMD ₹ 2,000/- , DD No.________________ Dated:_____________

Name of the Bank & Branch:___________________________________________

I.

| S.No. | Description of item | Unit | Quantity | Rate per Unit(₹) | Amount(₹) |
| --- | --- | --- | --- | --- | --- |
| 1. 13.5 13.5.1 | 15 mm cement plaster on both sides of single or half brick/C.C/ wall of mix: 1:4 ( 1 cement : 4 coarse sand) 2 x 4 x 72.00 x 0.75 = 432.00 2 x 4 x 22 x 2 x 0.15 x 0.75 = 39.60 Total = 471.60sqm | Sqm | 471.60 |  |  |
| 2. 6.12 6.12.2 | Half brick masonry with common burnt clay F.P.S.(non modular) bricks of class designation 7.5 in foundations & plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | Sqm | 26.00 |  |  |
| GRAND TOTAL (Including Tax) |  |  |  |  |  |

SIGNATURE OF TENDERER

MOBILE NUMBER :