ANNEXURE-I

(Enclosure to Letter No.4-7(120)/2012-2013/E-II Dated: 28th October,2014)

QUOTATION FOR SURFACE DRIP IRRIGATION SYSTEM - SUPPLY, INSTALLATION & COMMISSIONING

Amount of EMD ₹ 2,000/- , DD No.________________     Dated:_____________

Name of the Bank & Branch:___________________________________________

I.

| S.No. | Name of the Item | Quantity | Rate per Unit(₹) | Amount(₹) |
| --- | --- | --- | --- | --- |
| A | Filter and Fertigation Equipment |  |  |  |
| 1. | Super Flow Filter 20-25M3/HR | 1 No. |  |  |
| 2. | DARVC100 Double Action Air/Vaccum Release Valve 1" | 1 No. |  |  |
| 3. | Pressure Guage Glycerine Filled & Cork 1/4" | 1 No. |  |  |
| 4. | Well Header Assembly W/O NRV 2" | 1 No. |  |  |
| 5. | Ventury Assembly complete 1" Pla | 1 No. |  |  |
| B | PVC for Main and Submain Pipes |  |  |  |
| 6. | PVC Pipe 63mm X 6kg/cm2 | 102 mts |  |  |
| 7. | PVC Pipe 50mm X 6kg/cm2 | 102 mts |  |  |
| C | Lateral, Dripper and Accessories |  |  |  |
| 8. | Tube OD 16mm CL2 x 400 Mtr | 4000 Mts |  |  |
| 9. | J-Turbo Keyplus Dripper 4 LPH | 3500 Nos |  |  |
| 10. | J-JET F/C 55LPH RED SSJ ASS. | 60 Nos |  |  |
| 11. | Grommet 13mm ID | 150 Nos |  |  |
| 12. | Poly Take off 16 x 13 MM | 150 Nos |  |  |
| 13. | Ring Joiner 16mm | 150 Nos |  |  |
| 14. | Lateral End Stop "8" Shape 16mm | 200 Nos |  |  |
| 15. | Tube hold stake Clip 16mm | 100 Nos |  |  |
| D | Valves & Accessories |  |  |  |
| 16. | CTRL Valve 63mm Teflon Seal Plain | 1 No. |  |  |
| 17. | CTRL Valve 50mm Teflon Seal Plain | 3 Nos |  |  |
| 18. | Valve Box 10" | 4 Nos |  |  |
| 19. | Control Flush Valve 50mm | 3 Nos |  |  |
| TOTAL( 1 to 19 items) (I) |  |  |  |  |

SIGNATURE OF TENDERER

MOBILE NUMBER :

II. Fittings and Accessories for Drip Irrigation at CRIDA Farm, Hyderabad.

| S.No. | Description of Item | Size | Quantity | Rate per Unit(₹) | Amount(₹) |
| --- | --- | --- | --- | --- | --- |
| 1. | PVC TEE (Heavy Duty) | 60 mm | 4 |  |  |
| 2. | PVC TEE (Heavy Duty) | 50 mm | 6 |  |  |
| 3. | PVC Elbow (Heavy Duty) | 63 mm | 8 |  |  |
| 4. | PVC Elbow (Heavy Duty) | 50 mm | 10 |  |  |
| 5. | PVC Reducer (Heavy Duty) | 63 x 50 mm | 6 |  |  |
| 6. | PVC Coupler (Heavy Duty) | 63 mm | 4 |  |  |
| 7. | PVC Coupler (Heavy Duty) | 50 mm | 6 |  |  |
| 8. | FM THRADPT 2" (63 mm) HD | 63 mm | 2 |  |  |
| 9. | C.I.Flangev2" (Threaded) | 2" | 2 |  |  |
| 10. | Rubber Gasket for Flange | 2" | 2 |  |  |
| 11. | PVC MTA (Heavy Duty) | 2" | 2 |  |  |
| 12. | PERMA Fix 1L - TI | 1 Ltr | 2 |  |  |
| 13. | HOLD TITE | 50 gms | 1 |  |  |
| 14. | TEFLON TAPE |  | 6 |  |  |
| 15. | END CAP PLAIN | 50 mm | 6 |  |  |
| TOTAL ( 1 TO 15 items)(II) |  |  |  |  |  |
| GRAND TOTAL (I + II) |  |  |  |  |  |

(Rupees _______________________________________________________________Only)

SIGNATURE OF TENDERER

MOBILE NUMBER: