GRAMS: DRYLAND				Phone : 040-24532265

E-mail: root@crida.in				     040-24530163

FAX: 040-24531802 	                                                                 040-24530161

Web Site :http://www.crida..in                                               040-24532243

Central Research Institute for Dryland Agriculture

## Santoshnagar, Said bad Post, Hyderabad – 500 059

# INVITATION TO TENDER AND INSTRUCTIONS TO TENDERERS

# Tender Number: Renovation of PME Cell & Director's Office at Main Office Building, CRIDA

# Date:

Cost of Tender:        Rs. 200-00				Bank:

D.D.No.            :        						Branch:

Dated:

To

Dear Sirs,

On behalf of the Director, Central Research Institute for Dryland Agriculture, I invite you to tender for works as per the details furnished in the Tender Form attached herewith.  The conditions of contract for undertaking the work as per the details furnished here under will be of any contract applicable to the Order placed by Central Research Institute for Dryland Agriculture, Indian Council of Agricultural Research and Research Institutes under it and special conditions detailed in the tender form (attached herewith).  If you are in a position to quote for the same as per the details furnished in accordance with the requirements stated please submit your quotations in the Annexures I, II and III enclosed  to tender form, in original.

The complete set of the Tender form including Annexures I,II and III in original may be submitted to office after signing on all pages by the tenderer.

###### Yours faithfully

Assistant Administrative Officer-EII

# 2

TERMS AND CONDITIONS OF TENDER – PART I

Only in exceptional cases and for adequate reasons telegraphic or letter quotations will be considered if they are received from firms who are in the approved list of contractors  maintained by the Indian Council of Agricultural Research provided those telegraphic or letter quotations are complete in all respects with regard to price, (itemised prices where necessary), specification, delivery and other particulars essential to enable a purchase decision to be taken and provided also the quotations are confirmed within three days from the date of receipt of tender in the prescribed form.

- EARNEST MONEY:  Earnest Money deposit as mentioned in the tender schedule may be paid by way of Demand Draft drawn on any schedule bank in favour of “ICAR UNIT ACCOUNT, CRIDA, Hyderabad” payable at State Bank of India, Edi Bazar, Hyderabad.  The DD towards EMD may please be enclosed to the tender form and the tender submitted to the Director, Central Research Institute for Dryland Agriculture, Saidabad Post, Santoshnagar, Hyderabad – 500 059.  Any other mode of payment will not be accepted.

2.	THE TENDER SHALL NOT BE CONSIDERED IF THE DD OF EARNEST MONEY DEPOSIT IS NOT SENT WITH THETENDER:  No request for transfer of any previous deposit of earnest money will be entertained.  It is understood that the tender document has been issued to the tenderer and the tenderer is being permitted to tender in consideration of the stipulation of his part that after submitting his tender, he will not reside from his offer or modify the terms and conditions thereof.  Should the tenderer fail to observe and comply with the forgoing stipulation; the aforesaid amount will be forfeited to the Central Research Institute for Dryland Agriculture, Indian Council of Agricultural Research.  In the event of the offer made by the tenderer not being accepted the amount of earnest money deposited by the tenderer will be refunded to him after he has applied for the same in a manner prescribed by Central Research Institute for Dryland Agriculture, Indian Council of Agricultural Research.  The Earnest Money should not on any account fall short of the amount actually required.

- PREPARATION OF TENDER :

- The complete set of tender form should be returned in tact in original and pages should not be detached but when the rates are not being tendered for the corresponding space should be defaced by words as “Not Quoting”.

- If any modification of the schedule is considered necessary you should communicate the same by means of a separate letter sent with the Tender.

- In the event of space on the schedule form being insufficient for the required purpose, additional pages may be added.  Each such additional page must be numbered consecutively, bearing the Tender number and be fully signed by you.  In such cases reference to the additional pages must be made in the tender form.

### (SIGNATURE OF TENDERER)

3/-

-3-

- SIGNING OF TENDER:

a) The tender is liable to be ignored 	  if complete information is not given therein or of    the particulars and date if any asked for in the Annexures to the tender are not fully filled in, specific attention must  be paid to the delivery dates and also to the general conditions of the contract as the contract would be governed by them.

- Individual signing the tender or other documents connected with the contract must specify whether he signs as:

(i)’sole proprietor’ of the firm of constituted attorney of such sole proprietor.

ii) A partner of the firm if it be a partnership, in which case he must have authority to refer to arbitration dispute concerning the business of the partnership either by virtue of the partnership agreement or a power of attorney.

iii) Constituted attorney of the firm if it is a company.

NOTE:

- In case of (ii) a copy of the partnership agreement of general power of attorney, in either case attested by a Notary Public, should be furnished and affidavit on stamped paper of all the partners admitting execution of the partnership agreement or the general power of attorney should be furnished.

- In the case of partnership firms, where no authority to refer disputes concerning the business of the partnership has been conferred on any partner, the tender and all other related documents must be signed by every partner of the firm.

- A person signing the tender form or any documents forming parts of the contract on behalf of another shall be deemed to warranty that he has authority to bind, such other and it, on enquiry it appears that the person so signing had no authority to do so, the Institute  may, without prejudice to other civil and criminal remedies cancel the contract and held the signatory liable for all costs and damages.

- Each page of the tender, schedule to tender and annexure, if any, should be signed by the tenderer and returned to the institute in original after filling.

- DELIVERY OF TENDER:  The original copy of the tender is to be enclosed in a double cover.  The inner cover should be sealed and the outer cover should bear only address of this office without any indication that there is a tender within.

### (SIGNATURE OF THE TENDERER)

4/-

-4-

Right is reserved to ignore any tender which fails to comply with the above instructions.  All tenders should be sent by registered posts or delivered in person to the Institute.  A separate “tender box” has been kept for this purpose in the Institute.  Only one tender should be included in a cover, all tenders so enclosed in one cover be liable to be ignored.

- LATEST HOUR FOR RECEIPT OF TENDERS:  Unless otherwise specified in the schedule to tender your quote must reach this office not later than hours on the date of      opening of the tender.  Tenders sent by hand delivery should be put in the Tender Box at this office not later than hours on the due date unless otherwise stipulated in the schedule to tender.

- PERIOD FOR WHICH THE OFFER WILL REMAIN OPEN:

- Firms tendering should note that their offers should remain open for acceptance for 90 days from the date of opening of tender.  If the firms are unable to keep their offers open for the specified period, they should specifically state in the tender form the period upto which they want their tenders to remain open for acceptance.  In the absence of such specifications in the tender, it will be assumed that their offers will remain open for acceptance for a period of 90 days from the date of opening.

- Quotations qualified by such vague and indefinite expressions such as “subject to immediate acceptance” will not be considered.

- OPENING OF TENDER :

You are at liberty to be present or authorize a representative to be present at the opening of the tender at the specified time and date.  The name and address of the representative who would be attending the opening of the tender on your behalf should be indicated in your tender.  Please also state the name and address of your permanent representative, if any.

9) THE PRICE MUST BE QUOTED AS BELOW:

Complete details of the proposed work shall be as per the details mentioned in the Annexures  attached therein.

i) If it is decided to ask for excise duty/sales tax or any other charges as extra, the same must be specifically stated   In the absence of any such stipulation it will be presumed that the prices include all such charges and no claim for the same will be entertained.  It may be mentioned here that the Institute is not in a position to supply any‘C’ or ‘D’ forms.  Please avoid to write expression such as taxes etc., Please indicate exact amount/percentage of taxes, duties etc. payable by the Institute.

ii) The prices quoted by the tenderers should be exclusive of sales tax (and should be clearly stated to be so) which will be paid by the Institute, if legally leviable at the rate of ruling on the date of completion as specified in the acceptance of tender.

#### (SIGNATURE OF THE TENDERER)

5/-

-5-

10)  TERMS FOR COMPLETION WORK:

The time allowed completion of work is indicated in the Annexure – III enclosed and they he/they should be completed within the stipulated period, failing which penalty at the @ 1% per month of value of order will be imposed as per rules.    This is only tentative time normally allowed.  However, this may be reduced or enhanced by the Director keeping in view of the exigency of work.  No extra charges for labour etc. shall be paid.

11)RIGHT OF ACCEPTANCE:

This office does not pledge itself to accept the lowest or any tender and reserves to itself, the right of accepting the whole or any part of the tender.

12)COMMUNICATION OF ACCEPTANCE:

Acceptance by the Institute will be communicated by letter of acceptance or formal acceptance of tender.  In cases where acceptance is communicated by  letter the formal acceptance of tender will be forwarded to you as   soon as possible but the instructions contained in the letter should be acted upon immediately.  On approval of rates, an agreement is to be executed by the tenderer with the institute on Non-judicial stamp paper value of Rs.100/- the cost of which shall be met by the tenderer.

- RESERVATION OF RIGHTS TO ORDER ADDITIONAL QUANTITY :

The Director reserves the right to place order on the successful tenderer for additional work at the rates quoted by them.

- PRE-INSPECTION OF STORES:

In case an order is placed on you as a result of this tender you should satisfy yourself that the work is in accordance with the terms of order and fully conform to the required specifications by carrying out through pre-inspection.  Such precaution on your part should minimize the chance of rejection in inspection and consequences thereof.

The work should be carried out as per the specification.  The material used should be of good and standard Quality and to the satisfaction of CRIDA.  Failing to maintain standard Quality of work, the order given shall be liable for cancellation.  In such cases no payment shall be allowed for the work already completed.  In addition, the EMD shall be forfeited and suitable legal action shall be taken against the Contractor / Firm.

##### (SIGNATURE OF THE TENDERER)

6/-

-6-

- OTHER CONDITIONS:

- The appropriate specifications (I.S.I., IRS., ISO., etc., as the case may be) should be annexed to or quoted in the tender and that the articles supplied will be subject to inspection and/or tests prescribed in the specifications before acceptance.

- Late tenders (i.e., tenders received after the specified time of opening) delayed tenders (i.e., tenders received before the time of opening but after the due date and time of receipt of tenders) and post tenders offers will not be considered at all.

### (SIGNATURE OF THE TENDERER)

### 7/-

-7-

TERMS AND CONDITIONS OF TENDER – PART II

- CLIENT  :    Director, Central Research Institute for Dryland Agriculture,

Santoshnagar, Hyderabad – 59.

- The execution of work as per the details given in the tender schedule has to be completed within a period as specified in  supply/work order.  Please quote earliest possible guaranteed date by which you can complete the work.

- Conditions of contract:  As contained in special/general conditions of contract and schedule and annexures to the tender attached herewith.

- Tenderers are bound to accept order for additional quantity at the rate quoted only if order is placed on them within 90 days from the date of issue of A/T.

- In case the tenderer wants to furnish in a separate covering letter any additional information, particulars or quote conditions (e.g. those relating to allowance, discount, rebate, etc.) which cannot be accommodated in the tender form, an indication to that effect should be given in the tender form by means of a note.  In the absence of such indication in the tender form the contents of the covering letter will be ignored in consideration of tender.

- Firm should note that it is desired that their offer should remain open for acceptance for 90 days from the date of opening the tenders.  In the absence of such an indication in the tender form, it will be assumed that their offers will remain open for acceptance for the period as specified.

- The Director, CRIDA reserves right to accept/reject any tender.

TENDERERS MUST GIVE SPECIFIC ANSWERS AGAINST EACH OF THE FOLLOWING QUESTIONS.  TENDERS CONTAINING EQUIVOCAL OR EVASIVE REPLIES WILL BE IGNORED.

- Whether supply of stores in question confirm to particulars quoted in the schedule; if not, details of deviation must be stated here

2) I) Brand:

ii) Name and address of		:

Manufacturer

iii) Guaranteed date by which the     :

Supply can be completed

(SIGNATURE OF THE TENDERER)

8/-

-8-

3)	Business name and constitution:

of tendering form

( is the firm registered under)

i)  The Indian Partnership Act,	:

1932

ii)  The Indian Companies Act,	:

1956

iii) Any act, if not, who are owners:

(Please give full names)

- Do you agree to the Arbitration Clause stipulated (Your acceptance or non- acceptance of this Clause will not influence the decision of the tender.  It should, however be noted that as omission to answer the above question will be deemed as an acceptance of the Clause).

(FOR PARTNERSHIP FIRMS WHETHER REGISTERED OR NOT REGISTERED UNDER INDIAN PARTNERSHIP ACT, 1932)

Should the answer to this question by a partnership firm be in the affirmative, please state further:

- Whether by the partnership agreement, authority to refer disputes concerning the business of the partnership to arbitration has been conferred on the partner who has signed the tender.

- If the answer to (a) is in the negative whether there is any general power of attorney execute by all the partners tender to refer dispute concerning business of the partnership to arbitration:

- If the answer to either (a) or (b) is in the affirmative, have you already furnished a copy either the partnership agreement or the general power of attorney as the case may be, to this Institute.  Please quote the references to the communication by which this was done.

NB.1) If a copy of neither the partnership agreement for general power of attorney has previously been furnished to this Institute please attach to the tender a copy of either documents on which reliance is placed for authority of partners of the partner signing the tender to refer disputes to arbitration.  The copy should be admitted by Notary public to or its execution should be admitted by affidavit on a properly stamped paper by all the partners.

(SIGNATURE OF TENDERER)

9/-

-9-

2)	Where authority to refer disputes to arbitration has not been given to the partners signing the tender, the tender must be signed by every partner of the firm.

- INDICATE FOLLOWING DETAILS:

- What is your installed capacity

- What is your working capacity

iii)        What is the existing load

iv)	       What portion of your capacity

you prepared to reserve and allocate

to this Rate contract

- Whether Earnest Money has been deposited:

Enclosures:

Annexure – I

Annexure – II

Annexure – III

(SIGNATURE OF TENDERER)

10/-

-10-

# ANNEXURE  (I) (ENCLOSURE TO TENDER FORM)

(To be returned by Tenderers along with Tender duly signed)

- CONDITIONS OF CONTRACT:

Printed or cyclostyled or such terms and conditions of the tendering firms not appearing in the body of the tender will not be considered as forming part of their tender.  Tendering firms should quote on the basis of the conditions referred to in para 1 of the invitation of tender and instructions to tenderers.  In case any terms and conditions of contract applicable to this invitation to tender are not acceptable to the tendering firms, they should specifically state deviation there from in the body of their tender.

- DEVIATION FROM SPECIFICATION:

It is in the interest of the tenderers to study the specifications, specified in the tender schedule thoroughly before quoting so that if any deviations are made by the Tenderers the same are prominently brought out in the body of their tender.

- PRICES:

- Prices must be in terms of new coinage system, viz., rupees and paisa.

- The unit prices should be for the work in question indicated in the schedule to tender enquiry and not any other supply.

- Prices quoted should be invariably for undertaking work place mentioned in Annexure – III.

- Discount if any, should be indicated promptly.

- TRANSIT INSURANCE:

The Client will not pay separately for transit insurance and the contract will be responsible till the entire supply is made.

- PRICE PREFERENCE FOR EARLIER DELIVERY:

It should be noted that if a contract is placed on the tenderer as a result of this invitation to tender in preference to the lowest acceptable offer in consideration of offer of earlier supplies, the contractor will be liable to the Council the difference between the contract rate and that of the lowest.  ACCEPTABLE TENDER, on the basis of duties and other incidentals in case of failure to completion of supply in terms of such contract within the date of completion specified in the tender and incorporated in the contract.

This is in addition to and without prejudice to other rights under the terms of the contract.

(SIGNATURE OF TENDERER)

11/-

-11-

- PAYMENT TERMS:

Part payment is allowed in cases where work award exceeds Rs. 5 lakhs only. One part payment, equivalent to 80% of completed work as certified by CRIDA, will be made, upon request of tenderer. This request is voluntary and it timing is  at discretion of tenderer. Second and final payment will be made after completion of total work.  I.T and SD shall be deducted at source.

- ADDITIONAL PARTICULARS TO BE FURNISHED BY THETENDERER:

Tenderers shall submit alongwith their tenders:

- An Income Tax clearance certificate (duly countersigned by the Income Tax Officer of the Circle concerned under the seal of his office)

- Name and full address of their Banker:

- Performance statement duly signed by them regarding work undertaken by them against contract for similar supplies for the part three years.  In case the tenderer has not secured any contract during the past three years, he should give the performance against earlier contract placed on him, if any, samples of the supply work executed may please be enclosed to the tender.

- The assignment, they possess for executing the supply work liable to be ignored.

- JURISDICTION:

All questions, disputes or differences under, out or in connection with the contract, if concluded shall be referred to the sole arbitrator appointed by the Indian Council of Agricultural Research .  The decision of the sole Arbitrator shall be final and binding on both the parties.

- I/we have understood the instructions of Tenders and conditions of contract including in the General conditions of contract governing contracts placed by the Indian Council of Agricultural Research and Institute under it and in the special conditions of contract and have thoroughly examined the specification or pattern and nature of work quoted in the schedule hererto and an/are fully aware of the completion of the work and my/our offer is in accordance with the requirement.

- Demand Draft No……………………dt……………….for Rs………………….

(Rupees…………………………………………………………) is enclosed being EMD.

(SIGNATURE OF TENDERER)                                                       12/-

-12-

ANNEXURE –II (ENCLOSURES TO TENDER FORM)

(Please quote rates on Annexure III (Schedule to Tender Form)

Full name & address of the

Tenderer in addition to

Post Box No. if any, should

be quoted in all communications

to this office

Tenderers Telegraphic

Address:

Telephone /Mobile No.

Code used :

From

To

The Director

Central Research Institute for

Dryland Agriculture

P.O.Saidabad

Santoshnagar

Hyderabad – 59.

Dear Sir,

I/We hereby offer for supply of stores as per the details furnished in the tender schedule (Annexure-III) hereto or such portion thereof as you may specify in the Acceptance of Tenderer at the price given in the said schedule and agree to hold this offer ninety days only.  I/We shall be bound by a communication of Acceptance dispatched within the prescribed time and also execute agreement required in this regard.

(SIGNATURE OF TENDERER)                                                          13/-

-13-

- I/We have understood the instructions to Tenderers and conditions of contract included in the General conditions of contracts governing contracts placed by the CRIDA, Indian Council of Agricultural Research Institutes under it and in the special conditions of contract and have thoroughly examined the specification or pattern and nature of stores quoted in the schedule thereto and an/are fully aware of the completion of the supply and my/or offer is to in accordance with the requirement.

- The following pages have been added to and from part.

SIGNATURE OF WITNESS:                        	 (SIGNATURE OF TENDERER)

Name of Witness                   :                         	 Name of Tenderer		:

Mailing Address                    :				  Mailing Address		:

DATE:					(SIGNATURE OF TENDERER)

-14-

ANNEXURE - III

Quotation  for Renovation of PME Cell and Director’s Office at Main Office Building, CRIDA.

Part - I ( Civil)

| Sl.no. | Description of item | Unit | Qty. | Rate | Amount(`) |
| --- | --- | --- | --- | --- | --- |
| 1 | Earth work in excavation by mechanical means(Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides & ramming of bottoms, lift upto 1.5m, including getting out the excavated soil & disposal of surplus excavated soil as directed, within a lead of 50m. All kinds of soil. 4x1.70x0.75x0.90 = 4.59 2x1.20x0.60x0.90 = 1.30 1x4.00x0.60x0.75 = 1.80 Total = 7.69 cum | cum | 7.69 |  |  |
| 2 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material & disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar 1x2.00x2.50 |  | One Job |  |  |
| 3 | Providing & laying in position cement concrete of specified grade excluding the cost of centering & shuttering – All work up to plinth level: 1:4:8(1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) 4x1.70x0.75x0.15 = 0.77 2x1.20x0.60x0.15 = 0.22 1x4.00x0.60x0.15 = 0.36 Total = 1.35 cum | cum | 1.35 |  |  |
| 4 | Providing & laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing & reinforcement – All work to plinth level: 1:1.5:3(1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) 1x9.00x1.60x0.15 = 2.16 2x1.50x1.20x0.15 = 0.54 Total = 2.70 cum | cum | 2.70 |  |  |
| 5 | Centering & shuttering including strutting, propping etc. & removal of form for: Suspended floors, roofs, landings, balconies & access platform 1x9.30x1.90 = 17.67 2x1.65x1.50 = 4.95 Total = 22.62sqm | sqm | 22.62 |  |  |
| 6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position & binding all complete upto plinth level. Cold twisted bars | kgs | 180.00 |  |  |

-15-

| 7 | Random rubble masonry with hard stone in foundation & plinth including levelling up with cement concrete 1:6:12(1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6(1 cement : 6 coarse sand) 4x1.60x0.75x0.60 = 2.88 4x1.60x0.60x0.60 = 2.30 2x1.20x0.60x0.75 = 1.08 1x4.00x0.60x0.90 = 2.16 Total = 8.42 cum | cum | 8.42 |  |  |
| --- | --- | --- | --- | --- | --- |
| 8 | Half brick masonry with common burnt clay F.P.S.(non modular) bricks of class designation 7.5 in foundations & plinth in: Cement mortar 1:3(1 cement : 3 coarse sand) 2x2.50x0.50 = 2.50 1x4.00x1.00 = 4.00 Total = 6.50sqm | sqm | 6.50 |  |  |
| 9 | Brick work with common burnt clay F.P.S.(non modular) bricks of class designation 7.5 in foundation & plinth in: Cement mortar 1:4(1 cement : 4 coarse sand) 2x5x1.20x0.25x0.15 = 0.45 cum | cum | 0.45 |  |  |
| 10 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix: 1:3(1 cement: 3 fine sand) 2x2x2.50x0.50 = 5.00 2x5x1.50x0.45 = 6.75 2x4.00x1.15 = 9.20 1x9.00x0.15 = 1.35 Total = 22.30sqm | sqm | 22.30 |  |  |
| 11 11.1 | Providing & fixing aluminium work for doors, windows, ventilators & partitions with extruded built up standard tubular sections/ appropriate Z sections & other sections of approved make conforming to IS: 733 & IS: 1285, fixing with dash fasteners of required dia& size, including necessary filling up the gaps at junctions, i.e. at top, bottom & sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred& jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P.brass / stainless steel screws, all complete as per architectural drawings & the directions of Engineer-in-charge. (Glazing, paneling & dash fasteners to be paid for separately): For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) For shutters of doors, windows & ventilators including providing & fixing hinges/ pivots & making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron) | kgs kgs | 72.00 27.00 |  |  |

-16-

| 12 | Providing & fixing double action hydraulic floor spring of approved brand & manufacture conforming to IS: 6315, having brand logo embossed on the body / plate with double spring mechanism & door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required & making good the same matching to the existing floor finishing & cover plates with brass pivot & single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | each | 1 no. |  |  |
| --- | --- | --- | --- | --- | --- |
| 13 | Providing & fixing aluminium tubular handle bar 32 mm outer dia, 3.0 mm thick & 2100 mm long with SS screws etc. complete as per direction of Engineer-in-charge. Powder coated minimum thickness 50 micron aluminium tubular handle bar | each | 4 nos. |  |  |
| 14 | Providing & fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting & making good etc. complete. | each | 2 nos. |  |  |
| 15 | Providing & fixing12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade I Type II, in panelling fixed in aluminium doors, windows shutters & partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings & directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides 1x2.75x2.10 = 5.77 1x1.55x1.00 = 1.55 1x0.30x2.00 = 0.60 1x1.80x1.60 = 2.88 1x2.30x1.00 = 2.30 Total = 13.10sqm | sqm | 13.10 |  |  |
| 16 | Providing & fixing glazing in aluminium door, window, ventilator shutters & partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings & the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.00 mm thickness 1x2.75x1.10 = 3.02 1x1.55x1.00 = 1.55 1x1.55x2.10 = 3.25 Total = 7.82sqm | sqm | 7.82 |  |  |
| 17 | Providing & fixing ISI marked flush door shutters conforming to IS: 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood & well matched commercial 3 ply veneering with vertical grains or cross bands & face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws 1x2.10x1.70 = 3.57sqm | sqm | 3.57 |  |  |
| 18 | Providing & fixing aluminium sliding door bolts, ISI marked anodised(anodic coating not less than grade AC 10 as per IS: 1868), transparent or dyed to required colour or shade, with nuts & screws etc. complete: 300x16 mm | each | 2 nos. |  |  |

-17-

| 19 | Providing & fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 250x10 mm | each | 4 nos. |  |  |
| --- | --- | --- | --- | --- | --- |
| 20 | Providing & fixing glass panes with putty & glazing clips in steel doors, windows, clerestory windows, all complete with: 4.0 mm thick glass panes 1x1.65x0.60 = 0.99 1x1.80x1.60 = 2.88 Total = 3.87sqm | sqm | 3.87 |  |  |
| 21 | Providing & Fixing 15 mm thick densifiedtegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture spintone/cosmos/Hexa or equivalent of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections(galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length & of size 24x38 mm made from 0.33 mm thick(minimum) sheet, spaced 1200 mm centre to centre, & cross “T” of size 24x38 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main‘T’ at 600 mm centre to centre to form a grid of 1200x600 mm & secondary cross’T’ of length 600 mm & size 24x38 mm made of 0.33 mm thick(Minimum) sheet to be inter locked at middle of the 1200x600 mm panel to from grid of size 600x600 mm, resting on periphery walls/ partitions on a Perimeter wall angle pre-coated steel of size(24x24x3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval & laying 15 mm thick densified edges calcium silicate ceiling tiles of approved texture(Spintone/ Cosmos/hexa) in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings fixtures, smoke detectors etc., wherever required. Main ‘T’runners to be suspended from ceiling using G.I.slotted cleats of size 25x35x1.6mm fixed to ceiling with 12.5 mm dia& 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanized steel level clips of size 85x30x0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all T-sections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings & as directed by engineer-in-charge. 1x9.30x1.55 = 14.42 1x6.05x2.75 = 16.63 1x3.00x2.80 = 8.40 Total = 39.45sqm | sqm | 39.45 |  |  |

-18-

| 22 | Providing & laying polished vitrified floor tiles (full body) of size 600x600 mm (thickness to be specified by the manufacturer) with water absorption’s less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 25mm thick cement mortar 1:6 (1 cement : 6 coarse sand) including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 60x60 cm 1x6.00x4.00 = 24.00 1x3.10x2.80 = 8.68 Total = 32.68sqm | sqm | 32.68 |  |  |
| --- | --- | --- | --- | --- | --- |
| 23 | Providing & fixing of Vanishan blinds of approved make & shade 1x2.10x1.80 = 3.78sqm | sqm | 3.78 |  |  |
| 24 | Providing & fixing paver tiles of approved make & shade laid over 20 mm thick cement mortar 1;6& joints to be filled with matching pigment. 1x9.10x1.60 = 14.56sqm | sqm | 14.56 |  |  |
| 25 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses (Half round shape trusses)etc., including cutting, hoisting, fixing in position & applying a priming coat of approved steel primer, including welding & bolted with special shaped washers etc. complete. Hot finished seamless type tubes 1. 65 mm nominal bore 3.6 mm wall thickness 2. 50 mm nominal bore 3.6 mm wall thickness | kgs kgs | 200.00 57.00 |  |  |
| 26 | Providing & fixing mild steel round holding down foundation bolts with nuts & washer plates complete | kgs | 90.00 |  |  |
| 27 | Providing & fixing bolts including nuts & washers, connecting plates complete. | kgs | 72.00 |  |  |
| 28 | Steel work welded in built up sections/ framed work, including cutting, hoisting fixing in position & applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings brackets, gates & similar works. 1x4.00x1.50 | kgs | 320.00 |  |  |
| 29 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated ‘J’ or ‘L’ hooks, bolts & nuts 8mm dia. G.I. plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi & hot cured. They shall be of uniform pigmentation & thickness without air pockets & shall conform to IS 10192 & IS 12866. The sheets shall be opaque or translucent, clear or pigment, textured or smooth as specified. 2mm thick corrugated(2.5” or 4.2” or 6”) or step-down (2” or 3” or 6“) as specified(fixed to half round shaped trusses) 1x9.00x2.30 = 20.70sqm | sqm | 20.70 |  |  |

-19-

| 30 | Removing dry or oil bound distemper, water proofing cement paint & the like by scrapping, sand papering & preparing the surface smooth including necessary repairs to scratches etc. complete. 2x9.30x2.50 = 46.50 2x6.00x2.50 = 30.00 2x5.80x3.00 = 34.80 2x3.80x3.00 = 22.80 2x2.60x3.00 = 15.60 2x3.00x3.00 = 18.00 1x5.80x3.80 = 22.04 Total = 189.74 sqm | sqm | 189.74 |  |  |
| --- | --- | --- | --- | --- | --- |
| 31 | Distempering with oil bound washable distemper of approved brand & manufacture to give an even shade: New work (two or more coats) over & including water thinnable priming coat with cement primer Qty. same as Sl. no: 30 = 189.74sqm | sqm | 189.74 |  |  |
| 32 | Painting with synthetic enamel paint of approved brand & manufacture of required colour to give an even shade: Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand & manufacture. Grill: 1x1.50x4.00x1.50 = 9.00 Doors: 2x7x2.00x1.00 = 28.00 Window: 1x2x1.80x1.00 = 3.60 2x2x1.80x1.20 = 8.64 V: 2x2x2.50x0.90 = 9.00 Total = 58.24sqm | sqm | 58.24 |  |  |
| 33 33.1 | Providing & fixing woodwork to window frame with particle board/ ply wood of approved make & quality. For window frame of size 3”x1” | Rft | 40.00 |  |  |
| 34 34.1 | Providing & fixing teak beading of approved design & make including polishing. 32mmx15mm | metre | 40.00 |  |  |
| Total of Part I |  |  |  |  |  |

Part - II (Electrical)

| Sl.no. | Description of item | Unit | Qty. | Rate | Amount(`) |
| --- | --- | --- | --- | --- | --- |
| 1 | 12 Watts/ 18 watts LED Light fittings(Havells/Phillips/Bajaj) | each | 8 nos. |  |  |
| 2 | 3 Star Split A.C. with stabilizer and stand (Bluestar/Hitachi/O- general) | each | 1 no. |  |  |
| 3 | Wiring & switch control modular(Finolex/V-guard /Havells) |  |  |  |  |
| 4 | A.C. wiring with 2 pole isolator and casing & capping |  |  |  |  |
| Total of Part II |  |  |  |  |  |
| Grand total (Part I + Part II) |  |  |  |  |  |

(Rupees										only)

(Signature of the Tenderer